Instructions to Specifier.

Append the following Specifications and Drawings to tender and contract specifications.

# SUB SURFACE MEMBRANE WATERPROOFING

## GENERAL

### SCOPE

This specification describes a subsurface membrane waterproofing system by means of a solution that penetrates and integrates with the concrete surface.

Proprietary item:  Radcon Formula #7 Waterproofing System

Supplier:  Radcrete Pacific Pty Ltd.

### RELATED DOCUMENTS

Refer drawings, Preliminaries, Bill of Quantities, General Requirements, and general provisions of the contract.

### RELATED WORKS SPECIFIED ELSEWHERE

Concrete mix design, placement, curing, finishing, joint preparation and detailing affect this section and are included within this specification.

### REFERENCES

Radcrete test procedures -

RT01 – Depth of penetration into substrate

RT02 – Cracks sealing and resealing on test rig

RT03 – Reduction of Chloride Diffusion Co-efficient

## QUALITY

### SUBMISSIONS

#### Approval before application

Submit a detailed statement describing the concrete waterproofing system to be applied.

#### Inclusions

Include literature, details, samples, warranties and the like in the submission as required.

Provide the manufacturer’s or nominated agent/distributors written acceptance and approval of the intended system required.

### QUALITY ASSURANCE

#### Approved applicators

Use applicators approved and licensed by the manufacturer or their nominated agent/distributor.

#### Site inspection

The approved applicator must inspect the site prior to commencment of application of the system, for purposes of reviewing related conditions affecting the performance requirements of this specification.

#### Safety

The site foreman/supervisor shall sight and understand the site specifications and product datasheets.

All products described in this section must be used with adequate personal protection as recommended by the Material Safety Datasheet which accompanies each product shipment.

## MATERIALS AND COMPONENTS

### MATERIAL

#### Waterproofing system

Provide a waterproofing solution that creates a vapour permeable sub-surface barrier to prevent water leakage and ingress of contaminants into the cracks and concrete matrix.

Provide a solution that penetrates into concrete and reacts with Calcium Hydroxide and water at ambient temperatures to form a non water soluble complex calcium silicate hydrate gel in the cracks pores and capillaries.

#### Material

Provide a solution that is a non-toxic, clear, odourless silicate based material with proprietary biochemical modification.

#### Cracks

The product must seal existing leaking cracks up to 2.00mm in structural concrete.  In the matrix, it shall remain reactive with water to provide autogenous healing properties to future hairline cracks to 0.3mm.

## CONCRETE & RELATED DETAILING

### CONCRETE MIX DESIGN

Radcon #7 treatment is suitable for Portland Cement Mixes only.

### CONCRETE INSTALLATION

#### Insitu concrete

Ensure that the concrete is properly compacted by vibration and adequately cured for at least 28 days prior to the application of the material.

#### Falls

Pour concrete with fall lines to drains

### CONCRETE FINISH

#### Preferred finishes

Use wood float or broom finish.

#### Steel float

Where steel trowel/helicopter float is used, open surface pores by acid etching, grinding or blasting.

### CURING

Water cure where possible for 7 days

If curing compounds are used degrade or remove prior to application.

### CONSTRUCTION/POUR JOINTS

#### Construction joints/pour joints

Provide a vertical stop board at all construction/pour joints.

#### Pour breaks

Roughen construction joint face to expose aggregate so as to provide an adequate key for the new concrete slab to be poured.

#### Waterstops

Install Volclay Waterstop RX as per manufacturers recommendations.  Apply with the manufacturers Approved Applicator (refer to RPJ1 below)

### UPTURNS AND PARAPETS

#### First preference

Treat slab with the material prior to pouring parapet (refer to BM1 below)

#### Second preference

Pour parapets in-situ (refer to RPJ4 below)

#### Third preference

Install Volclay Waterstop RX in the parapet joint (refer to RPJ5 below)

#### Final preference

Apply reinforced liquid membrane strip seal (refer to RPJ6 below)

### DRAINS & PENETRATIONS

#### Prior to concrete pour

Install Volclay Waterstop RX as per manufacturers recommendations around penetrations. (refer to RP1 below)

#### Drains

Where drains are installed, install either Volclay Waterstop RXoor liquid applied membrane recessed into the drain. (refer to RP3 below)

#### Waterstops

Where Volclay Waterstop RX is not installed prior to pour, install liquid applied membrane strip-seal around penetration. (refer to RP5 below)

#### Holes

Where holes are cored into the slab and penetrations placed afterwards, use non-shrink grout to fill the space between penetration and the slab, then utilise liquid applied membrane strip-seal. (refer to RP6 below)

## EXECUTION

### APPLICATION AND SUPERVISION

#### General

Install the system in accordance to manufacturers' published recommendations.

#### Personnel

Employ trained applicators.

#### Tools and equipment

Use proper tools and equipment and working under the direct supervision of a technically competent and experienced supervisor.

### SURFACE PREPARATION

Remove all dags, laitance and loose fines by scraping or grinding.

Remove all materials that may retard penetration such oil, grease, and paints.

Hack out all holes, areas of honeycombing, and damaged sections.  Treat with material.  When touch dry, patch with a suitable cementitious grout, and trowell to a smooth even finish.  Allow overnight drying.

Clean down surfaces thoroughly by water blaster to remove dirt, dust, or other contamination to leave sound clean surfaces free of residues.

Ensure that the surface is dry at end of surface preparation.

### ENVIRONMENT CONDITIONS

Do not apply the material -

- When ambient temperatures are below +5oC or above +35oC.

- When rain is imminent.

- In high wind conditions.

### CRACKS

#### General

Locate all cracks and flood with the material.

Ensure that all cracks are filled with product.

#### Coverage rate

Allow 1 litre per 3 lineal metres.

### GENERAL AREAS

#### Coverage rate

Apply the material to the remaining area at a coverage rate of between 4-6 sq. meters per litre.

### WATER FLOOD TREATMENT

When surfaces have become touch dry - (usually 2-6 hours depending on wind conditions and ambient temperatures) and no longer than 6 hours, flood spray the treated areas with water for the first day.

Repeat the flood spraying for the next 2 subsequent days.

## QUALITY CHECK AND COMMISSIONING

### WATER TEST AND VERIFICATION

#### On completion

Provide the following tests after treatment and ancillary detailing has been completed.

#### Water tests

Pond or water test the area for a minimum of 12 hours to verify the treated area is watertight.  If leakage occurs, note and isolate area then treat again.  Watertightness must be verified before a guarantee is issued

#### Surface penetration

For further quality control, random core samples can be taken to be analysed using SEM & EDS to determine penetration according to test method RT01.